## README
Thank you for contributing to review and improve the knowledge base of nature-based solutions for water treatment of MULTISOURCE project
This knowledge base will be used to feed the ENTSAPP, the decision support system developed in Multisource to help decision makers and citizens to select natural treatment systems for water treatment.
INSTRUCTIONS
1. Read this README sheet carefully. In case of any doubt, write to jpueyo@icra.cat to solve your concerns.
2. Read the 'Descriptions' sheet to get an understanding of what each variable represents.
3. The 'Knowledge base' sheet contains the knowledge base which is at the stake.
4. First, in the 'Knowledge base' sheet fill the 'level_confidence' column for each technology from 0 to 5. This will be used to weight the different levels of confidence (i.e., the level of expertise) for different technologies of all reviewers.
5. Review the values for the technologies you fill confident, there are three options:
- If you agree with the value, delete the question mark.
- If you disagree with the value, enter a new value without the question mark.
- If you are not sure, leave the question mark.
6. Once you finished with your review, save the excel file and send it to jpueyo@icra.cat.
7. In the mail, add the name and affilitation that you want to appear on the list of reviewers. If you prefer to stay anonymous, specify this in the mail.
The list of reviewers will be aknowledged in the "About" section of the tool and in the related publications.
After receiving all the reviews, we will summarize them and will return you a summary of the results. Depending on the level of agreement, we might ask for a new round of reviews. If do not want to receive the summary, please, specify this in the mail.
EU Aknowledgment
This project has received funding from the European Union’s Horizon H2020 innovation action programme under grant agreement 101003527.

## Knowledge base
name | type | description | confidence_level | vertical | c_removal | n_removal_nitrification | n_removal_nitrateremoval | p_removal | pathogens_reduction | raw_domestic_wastewater | pretreated_domestic_wastewater | greywater | secondary_treated_wastewater | cso_discharge_water | river_diluted_wastewater | offices_wastewater | camping_wastewater | m2_pe_tropical | m2_pe_dry | m2_pe_temperate | m2_pe_continental | gr_bod_m2_tropical | gr_bod_m2_dry | gr_bod_m2_temperate | gr_bod_m2_continental | gr_nh4_m2_tropical | gr_nh4_m2_dry | gr_nh4_m2_temperate | gr_nh4_m2_continental | es_biodiversity_fauna | es_biodiversity_flora | es_temperature_regulation | es_flood_mitigation | es_cso_mitigation | es_carbon_sequestration | es_biomass_production | es_aesthetic_value | es_recreation | es_pollination | es_food_source | es_water_reuse | es_biosolids | household_building_solutions | energy | inv_es_manpower | inv_es_skills | inv_es_biohazard
CONSTRUCTED WETLANDS
Aerated treatment wetland | CW | Intensified wetlands - Aerated engineered wetland |  | no? | active? | active? | active? | inactive? | active? | not ideal? | active? | active? | inactive? | inactive? | inactive? | not ideal? | not ideal? | 0.33? | 0.33? | 0.67? | 0.33? | 181.82? | 181.82? | 89.55? | 181.82? | 30.3? | 30.3? | 14.93? | 30.3? | low? | low? | inactive? | inactive? | inactive? | low? | medium? | low? | low? | inactive? | inactive? | high? | inactive? | active? | yes? | high? | medium? | high?
Free water surface treatment wetland | CW | Surface flow - Free water systems |  | no? | active? | active? | active? | inactive? | active? | inactive? | not ideal? | active? | active? | inactive? | inactive? | inactive? | inactive? | 3? | 3? | 6? | 10? | 20? | 20? | 10? | 6? | 3.33? | 3.33? | 1.67? | 1? | high? | high? | low? | medium? | inactive? | medium? | high? | high? | medium? | medium? | inactive? | high? | inactive? | inactive? | no? | medium? | medium? | medium?
French vertical flow treatment wetland | CW | Subsurface flow - French reed beds |  | no? | active? | active? | inactive? | inactive? | active? | active? | inactive? | inactive? | inactive? | inactive? | inactive? | active? | active? | 0.5? | 0.5? | 2? | 2? | 120? | 120? | 30? | 30? | 20? | 20? | 5? | 5? | medium? | low? | inactive? | inactive? | low? | low? | medium? | low? | low? | inactive? | inactive? | high? | high? | active? | no? | medium? | medium? | high?
Horizontal flow treatment wetland | CW | Subsurface flow - Horizontal flow |  | no? | active? | inactive? | active? | inactive? | active? | inactive? | active? | active? | active? | inactive? | inactive? | inactive? | inactive? | 2? | 2? | 3? | 7? | 30? | 30? | 20? | 8.57? | inactive? | inactive? | inactive? | inactive? | medium? | low? | inactive? | inactive? | inactive? | low? | medium? | low? | low? | inactive? | inactive? | high? | inactive? | active? | no? | low? | low? | low?
Reactive media in treatment wetland | CW | Intensified wetlands - Reactive Media |  | no? | active? | active? | active? | active? | active? | inactive? | active? | inactive? | active? | inactive? | inactive? | inactive? | inactive? | 1? | 1? | 2? | 10? | 60? | 60? | 30? | 6? | 10? | 10? | 5? | 1? | medium? | low? | inactive? | inactive? | inactive? | low? | medium? | low? | low? | inactive? | inactive? | high? | inactive? | active? | no? | medium? | medium? | low?
Reciprocating treatment wetland | CW | Intensified wetlands - Recirculation/Tidal |  | no? | active? | active? | active? | inactive? | active? | inactive? | active? | inactive? | inactive? | inactive? | inactive? | inactive? | inactive? | 1.5? | 1.5? | 3? | 15? | 40? | 40? | 20? | 4? | 6.67? | 6.67? | 3.33? | 0.67? | medium? | low? | inactive? | inactive? | inactive? | low? | medium? | low? | low? | inactive? | inactive? | high? | inactive? | active? | yes? | high? | medium? | medium?
Treatment wetland for CSO | CW | Subsurface flow - CSO wetlands |  | no? | active? | active? | inactive? | inactive? | active? | inactive? | inactive? | inactive? | inactive? | active? | inactive? | inactive? | inactive? | 0.3? | 0.3? | 0.3? | 0.3? | 200? | 200? | 200? | 200? | 33.33? | 33.33? | 33.33? | 33.33? | medium? | low? | inactive? | inactive? | high? | low? | medium? | low? | low? | inactive? | inactive? | high? | inactive? | active? | no? | medium? | medium? | medium?
Vertical flow treatment wetland | CW | Subsurface flow - Vertical Flow |  | no? | active? | active? | inactive? | inactive? | active? | inactive? | active? | active? | active? | inactive? | active? | inactive? | inactive? | 1? | 1? | 2? | 10? | 60? | 60? | 30? | 6? | 10? | 10? | 5? | 1? | medium? | low? | inactive? | inactive? | inactive? | low? | medium? | low? | low? | inactive? | inactive? | high? | inactive? | active? | no? | medium? | medium? | medium?
Phytoparking | CW | Underground natural wastewater treatment combined with parking space on top |  | no? | active? | active? | active? | inactive? | active? | inactive? | active? | active? | active? | inactive? | inactive? | active? | active? | 0.3? | 0.88? | 0.75? | inactive? | 181.8? | 89.6? | 89.6? | inactive? | 30.3? | 14.93? | 14.93? | inactive? | low? | low? | medium? | inactive? | inactive? | low? | inactive? | low? | inactive? | inactive? | inactive? | high? | inactive? | inactive? | yes? | low? | medium? | medium?
Rain garden with treatment | CW | Bioswale to collect and treat road runoff |  | no? | active? | active? | inactive? | active? | inactive? | inactive? | inactive? | not ideal? | inactive? | inactive? | inactive? | inactive? | inactive? | N/A? | N/A? | N/A? | N/A? | N/A? | N/A? | N/A? | inactive? | N/A? | N/A? | N/A? | inactive? | medium? | medium? | medium? | medium? | high? | low? | medium? | high? | medium? | high? | inactive? | high? | inactive? | active? | no? | low? | medium? | low?
Rhizosph'air aerated french wetland | CW | Rhizosph'air aerated french wetland |  | no? | active? | active? | active? | inactive? | active? | active? | active? | inactive? | inactive? | inactive? | inactive? | active? | active? | 0.5? | 1? | 1? | 1.5? | 60? | N/A? | 80? | 120? | 10? | N/A? | 13.33? | 20? | medium? | low? | low? | inactive? | inactive? | low? | low? | medium? | low? | inactive? | inactive? | high? | inactive? | inactive? | yes? | medium? | medium? | medium?
Vertical flow wetland with recycle and partial saturation | CW | Vertical flow wetland with recycle and partial saturation |  | no? | active? | active? | active? | active? | active? | inactive? | active? | active? | active? | inactive? | inactive? | active? | active? | 1.5? | N/A? | N/A? | N/A? | 60? | N/A? | N/A? | 120? | 10? | N/A? | N/A? | 20? | low? | low? | low? | inactive? | inactive? | low? | medium? | medium? | low? | low? | inactive? | high? | inactive? | active? | yes? | medium? | medium? | medium?
GREEN ROOFS
Rooftop treatment wetland | GR | Subsurface flow - Rooftop wetlands |  | no? | active? | active? | inactive? | inactive? | active? | inactive? | inactive? | active? | active? | inactive? | inactive? | inactive? | inactive? | 1? | 1? | 2? | 10? | 60? | 60? | 30? | 6? | 10? | 10? | 5? | 1? | medium? | high? | high? | inactive? | medium? | medium? | low? | high? | low? | high? | low? | high? | inactive? | active? | yes? | high? | high? | medium?
GREEN WALLS
Horizontal flow green wall | GW | Green wall with horizontal flow |  | yes? | active? | inactive? | active? | inactive? | active? | inactive? | inactive? | active? | active? | inactive? | inactive? | inactive? | inactive? | 7.19? | 7.19? | 10.79? | 25.18? | 8.34? | 8.34? | 5.56? | 2.38? | inactive? | inactive? | inactive? | inactive? | medium? | high? | high? | inactive? | inactive? | medium? | low? | high? | low? | high? | low? | high? | inactive? | active? | yes? | high? | high? | low?
Vertical flow green wall | GW | Green wall with vertical flow |  | yes? | active? | active? | inactive? | inactive? | active? | inactive? | inactive? | active? | active? | inactive? | inactive? | inactive? | inactive? | 20.61? | 20.61? | 41.22? | 206.1? | 2.91? | 2.91? | 1.46? | 0.29? | 0.49? | 0.49? | 0.24? | 0.05? | medium? | high? | high? | inactive? | inactive? | medium? | low? | high? | low? | high? | low? | high? | inactive? | active? | yes? | high? | high? | low?
Hybrid living wall | GW | Modular green wall combining vertical and horitzonal flow treatment units |  | yes? | active? | active? | active? | inactive? | Inactive? | inactive? | inactive? | active? | active? | inactive? | inactive? | inactive? | inactive? | 13.9? | 13.9? | 26? | 115.64? | 5.63? | 5.63? | 3.51? | 1.34? | 0.94? | 0.94? | 0.58? | 0.22? | medium? | medium? | high? | inactive? | inactive? | low? | low? | high? | inactive? | high? | low? | high? | inactive? | active? | yes? | high? | high? | medium?
HYDROPONICS AND AQUAPONICS
Aquaponic system | HA | Aquaponics |  | no? | active? | active? | active? | active? | inactive? | inactive? | inactive? | inactive? | not ideal? | inactive? | active? | inactive? | inactive? | 0.5? | 0.5? | 0.5? | 0.5? | 120? | 120? | 120? | 120? | 20? | 20? | 20? | 20? | inactive? | inactive? | inactive? | inactive? | inactive? | medium? | inactive? | low? | inactive? | inactive? | high? | high? | medium? | active? | yes? | high? | high? | low?
Hydroponic system | HA | Hydroponics |  | no? | inactive? | active? | active? | active? | inactive? | inactive? | inactive? | inactive? | not ideal? | inactive? | active? | inactive? | inactive? | 0.5? | 0.5? | 0.5? | 0.5? | 120? | 120? | 120? | 120? | 20? | 20? | 20? | 20? | inactive? | inactive? | inactive? | inactive? | inactive? | medium? | inactive? | low? | inactive? | inactive? | high? | high? | low? | active? | yes? | high? | high? | low?
IN-STREAM RESTORATION SYSTEMS
In-stream restoration | I-SRS | Instream retention systems |  | no? | active? | active? | active? | active? | active? | inactive? | inactive? | inactive? | active? | active? | active? | inactive? | inactive? | 0.05? | 0.05? | 0.05? | 0.05? | 1200? | 1200? | 1200? | 1200? | 200? | 200? | 200? | 200? | high? | high? | inactive? | high? | inactive? | medium? | low? | high? | high? | inactive? | medium? | inactive? | inactive? | inactive? | no? | low? | medium? | low?
MULTI-STAGE SYSTEMS
Anaerobic + facultative pond | MS | Multistage Wastewater stabilization ponds/lagoons - Anaerobic+Facultative |  | no? | active? | active? | active? | inactive? | active? | active? | active? | inactive? | inactive? | inactive? | inactive? | active? | active? | 5? | 5? | 7? | inactive? | 12? | 12? | 8.57? | inactive? | 2? | 2? | 1.43? | inactive? | medium? | low? | low? | inactive? | inactive? | inactive? | inactive? | low? | low? | inactive? | inactive? | medium? | medium? | inactive? | no? | low? | low? | medium?
Anaerobic + maturation pond | MS | Multistage Wastewater stabilization ponds/lagoons - Anaerobic+Facultative+Maturation |  | no? | active? | active? | active? | inactive? | active? | active? | active? | inactive? | inactive? | inactive? | inactive? | active? | active? | 5? | 5? | 7? | inactive? | 12? | 12? | 8.57? | inactive? | 2? | 2? | 1.43? | inactive? | medium? | low? | low? | inactive? | inactive? | inactive? | inactive? | low? | low? | inactive? | inactive? | high? | medium? | inactive? | no? | low? | low? | medium?
Facultative + maturation pond | MS | Multistage Wastewater stabilization ponds/lagoons - Facultative+Maturation |  | no? | active? | active? | inactive? | inactive? | active? | active? | active? | active? | active? | inactive? | inactive? | active? | active? | 7? | 7? | 10? | inactive? | 8.57? | 8.57? | 6? | inactive? | 1.43? | 1.43? | 1? | inactive? | medium? | low? | low? | inactive? | inactive? | low? | inactive? | low? | low? | inactive? | inactive? | high? | low? | inactive? | no? | low? | low? | medium?
Facultative pond + Free water surface flow constructed wetland | MS | Multistage Facultative pond + Free Water Surface Constructed Wetland |  | no? | active? | active? | inactive? | inactive? | active? | active? | active? | active? | active? | inactive? | inactive? | active? | active? | 7? | 7? | 10? | inactive? | 8.57? | 8.57? | 6? | inactive? | 1.43? | 1.43? | 1? | inactive? | medium? | high? | low? | medium? | inactive? | high? | medium? | high? | medium? | medium? | inactive? | high? | low? | inactive? | no? | medium? | low? | medium?
Horizontal flow treatment wetland + maturation pond | MS | Multistage Wastewater Subsurface horizontal CW + Maturation pond |  | no? | active? | inactive? | inactive? | inactive? | active? | inactive? | inactive? | active? | active? | inactive? | inactive? | inactive? | inactive? | 2? | 2? | 3? | 7? | 30? | 30? | 20? | 8.57? | inactive? | inactive? | inactive? | inactive? | medium? | low? | low? | inactive? | inactive? | low? | medium? | low? | low? | inactive? | inactive? | high? | low? | inactive? | no? | low? | low? | medium?
Vertical flow + Horizontal flow treatment wetland | MS | Subsurface flow - VSSF+HSSF |  | no? | active? | active? | active? | inactive? | active? | inactive? | active? | inactive? | inactive? | inactive? | inactive? | inactive? | inactive? | 2? | 2? | 3? | 7? | 30? | 30? | 20? | 8.57? | 5? | 5? | 3.33? | 1.43? | medium? | low? | inactive? | inactive? | inactive? | low? | medium? | low? | low? | inactive? | inactive? | high? | inactive? | inactive? | no? | medium? | medium? | medium?
Aerated + free water surface wetland | MS | Combination of aearated and free water wetland designed for CSO wastewater |  | no? | active? | active? | active? | inactive? | active? | inactive? | active? | active? | active? | active? | active? | active? | active? | 2? | N/A? | 3? | N/A? | 156.62? | 200? | 200? | 181.54? | 26.1? | 33.33? | 33.33? | 30.26? | medium? | medium? | low? | low? | low? | low? | low? | low? | low? | low? | inactive? | high? | inactive? | inactive? | yes? | high? | medium? | medium?
NATURAL WETLANDS
Natural wetland | NW | Natural Wetland |  | no? | active? | active? | active? | active? | active? | inactive? | inactive? | inactive? | active? | inactive? | inactive? | inactive? | inactive? | 3? | 3? | 6? | 10? | 20? | 20? | 10? | 6? | 3.33? | 3.33? | 1.67? | 1? | high? | high? | low? | high? | high? | high? | high? | high? | high? | medium? | high? | high? | inactive? | inactive? | no? | low? | low? | medium?
PONDS AND LAGOONS
Anaerobic pond | PL | Wastewater stabilization ponds/lagoons - Anaerobic |  | no? | active? | inactive? | active? | inactive? | active? | active? | active? | inactive? | inactive? | inactive? | inactive? | active? | active? | 5? | 5? | 7? | inactive? | 12? | 12? | 8.57? | inactive? | inactive? | inactive? | inactive? | inactive? | medium? | low? | low? | inactive? | inactive? | inactive? | inactive? | low? | low? | inactive? | inactive? | low? | medium? | inactive? | no? | low? | low? | medium?
Facultative pond | PL | Wastewater stabilization ponds/lagoons - Facultative |  | no? | active? | active? | active? | inactive? | active? | active? | active? | inactive? | inactive? | inactive? | inactive? | active? | active? | 7? | 7? | 10? | inactive? | 8.57? | 8.57? | 6? | inactive? | 1.43? | 1.43? | 1? | inactive? | medium? | low? | low? | inactive? | inactive? | low? | inactive? | low? | low? | inactive? | inactive? | low? | low? | inactive? | no? | low? | low? | medium?
Maturation pond | PL | Wastewater stabilization ponds/lagoons - Maturation |  | no? | active? | inactive? | inactive? | inactive? | active? | inactive? | inactive? | inactive? | active? | inactive? | inactive? | inactive? | inactive? | 7? | 7? | 10? | inactive? | 8.57? | 8.57? | 6? | inactive? | inactive? | inactive? | inactive? | inactive? | medium? | low? | low? | inactive? | inactive? | low? | inactive? | low? | low? | inactive? | inactive? | high? | low? | inactive? | no? | low? | low? | low?
Surface aerated pond | PL | Wastewater stabilization ponds/lagoons - Intensified aeration |  | no? | active? | active? | inactive? | inactive? | active? | active? | active? | not ideal? | active? | inactive? | inactive? | active? | active? | 3? | 3? | 5? | inactive? | 20? | 20? | 12? | inactive? | 3.33? | 3.33? | 2? | inactive? | low? | low? | inactive? | inactive? | inactive? | low? | inactive? | low? | low? | inactive? | inactive? | high? | high? | inactive? | yes? | high? | medium? | high?
SOIL INFILTRATION SYSTEMS
Rapid-rate soil infiltration system | SIS | Infiltration or soil-based treatment systems - Slow |  | no? | active? | active? | inactive? | inactive? | active? | inactive? | inactive? | active? | active? | inactive? | active? | inactive? | inactive? | 0.5? | 0.5? | 0.5? | 0.5? | 120? | 120? | 120? | 120? | 20? | 20? | 20? | 20? | low? | low? | low? | inactive? | low? | inactive? | inactive? | low? | inactive? | inactive? | inactive? | high? | inactive? | active? | yes? | medium? | medium? | low?
Slow-rate soil infiltration system | SIS | Infiltration or soil-based treatment systems - Rapid |  | no? | active? | active? | inactive? | inactive? | active? | inactive? | inactive? | active? | active? | inactive? | active? | inactive? | inactive? | 0.5? | 0.5? | 0.5? | 0.5? | 120? | 120? | 120? | 120? | 20? | 20? | 20? | 20? | low? | low? | low? | inactive? | low? | inactive? | inactive? | low? | inactive? | inactive? | inactive? | high? | inactive? | active? | no? | low? | low? | low?
WILLOW SYSTEMS
Willow system | WS | Zero discharge - Willow systems |  | no? | active? | active? | active? | active? | active? | inactive? | active? | active? | active? | inactive? | inactive? | inactive? | inactive? | 15? | 15? | 30? | 70? | 4? | 4? | 2? | 0.86? | 0.67? | 0.67? | 0.33? | 0.14? | medium? | medium? | inactive? | medium? | inactive? | high? | high? | medium? | medium? | high? | inactive? | inactive? | inactive? | active? | no? | medium? | medium? | low?

## Descriptions
Variable | Description | Values or units
GENERAL INFORMATION
name | The name of the technology | --
confidence_level | How confident is the reviewer providing information for that technology | 0-5
type | The group of the technology | CW: Constructed wetlands GR: Green roofs GW: Green walls HA: Hydroponics and Aquaponics I-SRS: In-stream restoration systems MS: Multi-stage systems NW: Natural wetlands PL: Ponds and lagoons SIS: Soil infiltration systems WS: Willow systems
description | A brief description of the technology | --
vertical | Is the technology a vertical structure (i.e., a green wall)? | yes-no
POLLUTANTS REMOVAL
c_removal | Is the technology actively removing organic matter? | active-inactive-not ideal
n_removal_nitrification | Is the technology actively doing nitrification of ammonium? | active-inactive-not ideal
n_removal_nitrateremoval | Is the technology actively doing denitrification (removing nitrates and nitrites)? | active-inactive-not ideal
p_removal | Is the technology actively removing total phosphorus? | active-inactive-not ideal
pathogens_reduction | Is the technology actively removing pathogens, such as E.coli or Helminth eggs? | active-inactive-not ideal
TYPES OF WATER
raw_domestic_wastewater | Is the technology appropriate (active) for treating raw domestic wastewater? | active-inactive-not ideal
pretreated_domestic_wastewater | Is the technology appropriate (active) for treating pretreated domestic wastewater (primary treated effluent)? | active-inactive-not ideal
greywater | Is the technology appropriate (active) for treating greywater? | active-inactive-not ideal
secondary_treated_wastewater | Is the technology appropriate (active) for treating secondary treated wastewater? | active-inactive-not ideal
cso_discharge_water | Is the technology appropriate (active) for treating water from CSO discharge? | active-inactive-not ideal
river_diluted_wastewater | Is the technology appropriate (active) for treating river diluted wastewater? | active-inactive-not ideal
offices_wastewater | Is the technology appropriate (active) for treating wastewater from offices? | active-inactive-not ideal
camping_wastewater | Is the technology appropriate (active) for treating wastewater from camping? | active-inactive-not ideal
SURFACE RATIOS
m2_pe_tropical | How many square meters are needed to treat one person equivalent (60 gr of BOD) in a tropical climate | m2 / pe
m2_pe_dry | How many square meters are needed to treat one person equivalent (60 gr of BOD) in a dry climate | m2 / pe
m2_pe_temperate | How many square meters are needed to treat one person equivalent (60 gr of BOD) in a temperate climate | m2 / pe
m2_pe_continental | How many square meters are needed to treat one person equivalent (60 gr of BOD) in a continental climate | m2 / pe
gr_bod_m2_tropical | How many grams of BOD5 can be treated by square meter in a tropical climate? | grams / m2
gr_bod_m2_dry | How many grams of BOD5 can be treated by square meter in a dry climate? | grams / m2
gr_bod_m2_temperate | How many grams of BOD5 can be treated by square meter in a temperate climate? | grams / m2
gr_bod_m2_continental | How many grams of BOD5 can be treated by square meter in a continental climate? | grams / m2
gr_nh4_m2_tropical | How many grams of NH4 can be treated by square meter in a tropical climate? | grams / m2
gr_nh4_m2_dry | How many grams of NH4 can be treated by square meter in a dry climate? | grams / m2
gr_nh4_m2_temperate | How many grams of NH4 can be treated by square meter in a temperate climate? | grams / m2
gr_nh4_m2_continental | How many grams of NH4 can be treated by square meter in a continental climate? | grams / m2
COBENEFITS AND ECOSYSTEM SERVICES
es_biodiversity_fauna | To what extent is the technology increasing the variability among living organisms from all sources, including diversity within species, between species and of ecosystems. Fauna including animals, fungi and various groups of bacteria. | inactive-low-medium-high
es_biodiversity_flora | To what extent is the technology increasing the variability among living organisms from all sources, including diversity within species, between species and of ecosystems. Flora includes any organism in the kingdom Plantae. | inactive-low-medium-high
es_temperature_regulation | To what extent the technology provides the regulation of humidity and localised temperatures during hot weather conditions, including through ventilation and transpiration. | inactive-low-medium-high
es_flood_mitigation | To what extent the technology provides mitigation or prevention of potential damage to human use, health or safety caused by stormwater. | inactive-low-medium-high
es_cso_mitigation | To what extent the technology helps to reduce the combined sewer overflows produced by storm events. | inactive-low-medium-high
es_carbon_sequestration | To what extent the technology is removing carbon from the atmosphere and depositing it in a carbon sink, such as oceans, plants or soils. | inactive-low-medium-high
es_biomass_production | To what extent the technology is providing above-ground (i.e., not roots) plant material trough regular harvesting and removal. | inactive-low-medium-high
es_aesthetic_value | To what extent the technology is aesthetically pleasant as a component of the landscape. | inactive-low-medium-high
es_recreation | To what extent the technology is providing recreation opportunities to citizens, such as walking or relaxing. | inactive-low-medium-high
es_pollination | To what extent the technology is providing a habitat for pollinators, mainly insects, but also birds and bats. | inactive-low-medium-high
es_food_source | To what extent the technology is providing food from wild plants and animals, including parts of the standing biomass that can be harvested and used for the production of food. | inactive-low-medium-high
es_water_reuse | To what extent the water treated by the technology is appropriate for beneficial purposes such as irrigation, drinking water supplies, groundwater rechargement, industrial processes, and environmental restoration. | inactive-low-medium-high
es_biosolids | To what extent the technology is providing sludge that is rich in nutrients and can be reused as fertilizer. | inactive-low-medium-high
FEATURES AND BARRIERS
household_building_solutions | Is the technology appropriate (active) to be build for a single household or building? Or, on the contrary, it needs a bigger scale? | active-inactive-not ideal
energy | Is the technology using energy for its normal operation? Does it needs water or air pumps? Any other kind of similar energy demand? | yes-no
inv_es_manpower | What level of manpower is required for its operation? Including all kinds of regular works required to keep the technology working. | inactive-low-medium-high
inv_es_skills | What level of skills are required to operate the technology? | inactive-low-medium-high
inv_es_biohazard | To what extent the technology presents biohazard risks, including microorganisms, virus and toxins that can affect human health? | inactive-low-medium-high
More information: http://iwaponline.com/ebooks/book-pdf/929917/wio9781789062267.pdf

## Climate classification
Climate | Description | Köppen classification
Tropical | Average temperature of coolest month 18 °C or higher and significant precipitation. | A
Dry | This type of climate is defined by little precipitation that does not fit the polar (EF or ET) criteria of no month with an average temperature greater than 10 °C (50 °F) | B
Temperate | Average temperature of coldest month less than 18 °C but greater than –3 °C. | C
Continental | Average temperature of coldest month equal to or less –3 °C. | D
More information: https://www.nature.com/articles/sdata2018214

## Validation (hidden)
levels | active | boolean | likert
inactive | active | yes | 0
low | inactive | no | 1
medium | not ideal | yes? | 2
high | active? | no? | 3
inactive? | inactive? |  | 4
low? | not ideal? |  | 5
medium?
high?